## Slide 1: CARACKMON

## Slide 2: CARACKMON
The goal of the CARACKMON project's :
  Control the racks power supply
Project exist but we rewrite the project
  Create a new component : lbRackMon
  Last version: 1.1.0
  Installation of component in CARACKMON project’s
  rewriting of main panel

## Slide 3
An user interface very simplified
An generic user interface
  Use the component 3Dviewer
  dynamic interface(zoom, rotation, move, view)
  development of a code to parse "xml" files, and generate dynamic user interface in 3Dviewer
  Every part's is linked with a data point
  Each part's can be linked with a real objet to control (an another Data Point)
    Value of temperature, current, voltage etc.

## Slide 5
The state of turbine of L3B01 rack .

## Slide 6
You can control the turbine easily and show review

## Slide 7
Example pb with one Crate

## Slide 8
Example: Here pb of temperature reading

## Slide 9
you can also start external programs just by changing this selector.

## Slide 10
When you click on one element

## Slide 11
You start an another program

## Slide 12: CARACKMON
Conclusion :
  CARACKMON installed in « CADCS02W » computer
  Version 3.6 (not 3.8)
  The Project don’t start automatically (manual mode)
  No « shortcut » (call the main panel).